POST LAB ACTIVITY

THEORY QUESTIONS

- What is a cable tester and why is it used in networking?

_________________________________________________________________________________________________________________________________________________________________________________________________________________________________

- Explain the difference between a continuity test and a wiremap test.

_________________________________________________________________________________________________________________________________________________________________________________________________________________________________

- Name two types of cables that can be tested using a cable tester.

_________________________________________________________________________________________________________________________________________________________________________________________________________________________________

- What faults can a cable tester detect in a network cable?

_________________________________________________________________________________________________________________________________________________________________________________________________________________________________

- How do advanced digital testers measure the distance to a fault?

_________________________________________________________________________________________________________________________________________________________________________________________________________________________________

POST LAB ACTIVITY

PRACTICAL QUESTIONS

- Test a twisted pair cable using a cable tester and verify continuity.

- Test an RJ45 terminated cable and check the wire sequence.

- Identify an open circuit in a cable using the tester.

- Test a coaxial cable for short circuits and continuity.

- Record test results and note any miswiring or faults detected.

POST LAB ACTIVITY

MULTIPLE CHOICE QUESTIONS

- What is the primary function of a cable tester?

a) Connect computers				b) Check cable integrity

c) Amplify signal					d) Provide Wi-Fi

- Which type of cable can be tested using a standard cable tester?

a) Coaxial and twisted pair 			b) Fiber optic only

c) HDMI only					d) USB only

- What fault does a cable tester detect if a wire does not show continuity?

a) Short circuit					b) Open circuit

c) Crosstalk					d) Signal loss

- Which LED pattern indicates correct wiring in an RJ45 cable tester?

a) All LEDs light in sequence 			b) No LEDs light

c) Only first LED lights				d) LEDs blink randomly

- Advanced cable testers can also:

a) Terminate cables				b) Measure distance to faults

c) Replace damaged wires			d) Strip cable jackets